## Products
Part Number | Part Name | Part Indicator | Description | Portfolio | Product Brand | Product Series | Product Type | Government Requirements | Status
ACGLGUCN1 |  | Base Product | Singlemode LC/APC to Stub, Fiber Pigtail, Simplex 0.6 mm, Low Smoke Zero Halogen | CommScope® |  | ACG | Fiber pigtail ¦ unjacketed
FAWLCUC0C |  | Base Product | Singlemode LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAWSCUC0C |  | Base Product | Singlemode SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAWL9UC0C |  | Base Product | Singlemode LC/UPC Keyed Rose to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXL8UC0C |  | Base Product | OM4 LC/UPC Keyed Aqua to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FAXL5UC0C |  | Base Product | OM4 LC/UPC Keyed Orange to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FAXLCUC0A |  | Base Product | OM4 LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Blue - White (1-6) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
CC0871-000 | OCP-L1-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/UPC to Stub, 0.9 mm diameter, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
EH0108-007 | OCP-S5-15DGSEN-XX-AP | Variant of OCP | Fiber Optic Pigtail, Single fiber white color, OM4, SC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
1920618-6 | OCP-L2-06MASIA-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/APC to Stub, yellow, 6 m |  |  | OCP | Fiber pigtail ¦ jacketed
2160938-1 | OCP-LG-02MASEN-XX-(12COL) | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/APC to Stub, 0.9 mm diameter, multicolor, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
760250062 | OCP-EC-26DASQI-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LSZH, 1.8 mm diameter, tuned, Grade B, LSH/APC to Stub, yellow, 26 m |  |  | OCP | Fiber pigtail ¦ jacketed
FAVLCUC0C |  | Base Product | LazrSPEED® 550 WideBand LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber pigtail ¦ unjacketed
EH0108-001 | OCP-S1-15DASEN-XX-AP | Variant of OCP | Fiber Optic Pigtail, Single fiber white color, Singlemode, SC/UPC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
EH0194-008 | OCP-L5-15DGSEN-XX-(12)-AP | Variant of OCP | Fiber Optic Pigtail, 12 color kit, OM4, LC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
FAWLCUC01 |  | Base Product | TeraSPEED® LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
760253156 | OCP-L1-02MASEN-XX-(100) | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/UPC to Stub, 0.9 mm diameter, 2 m, Kit of 100 pigtails |  |  | OCP | Fiber pigtail ¦ jacketed
2160634-2 | OCP-S1-02MASEN-XX-(12COL) | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/UPC to Stub, 0.9 mm diameter, multicolor, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
2160620-2 | OCP-SG-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, 0.9 mm diameter, 2 m |  |  | OCP | Fiber pigtail ¦ unjacketed
6536880 |  | Base Product | Fiber Optic Pigtail, Singlemode, LC/UPC to Stub, 0.9 mm Semi-Tight, white | CommScope® |  |  | Fiber pigtail ¦ unjacketed
6536880-2 |  | Variant of 6536880 | Fiber Optic Pigtail, Simplex, Singlemode, LC/UPC to Stub, 2 m | CommScope® |  |  | Fiber pigtail ¦ unjacketed
EH0108-004 | OCP-L2-15DASEN-XX-AP | Variant of OCP | Fiber Optic Pigtail, Single fiber white color, Singlemode, LC/APC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
UFGLCUC21 |  | Base Product | Ultra Low Loss (ULL) Singlemode LC/UPC to Unconnectorized, 1.6 mm Simplex Fiber Pigtail, Low Smoke Zero Halogen (LSZH) | CommScope® | SYSTIMAX ULL | UFG | Fiber pigtail ¦ jacketed
UFGLCUC42 |  | Base Product | Ultra Low Loss (ULL) Singlemode LC/UPC to Unconnectorized, 1.6 mm Duplex Fiber Pigtail, Low Smoke Zero Halogen (LSZH) | CommScope® | SYSTIMAX ULL | UFG | Fiber pigtail ¦ jacketed
UDGLCUC42 |  | Base Product | Ultra Low Loss (ULL) Singlemode LC/UPC to Unconnectorized, 1.6 mm Duplex Fiber Pigtail, Plenum | CommScope® | SYSTIMAX ULL | UDG | Fiber pigtail ¦ jacketed
ACGSGUCNC |  | Base Product | Singlemode SC/APC to Stub, Fiber Pigtail 0.6 mm, 12-Fiber, Low Smoke Zero Halogen | CommScope® |  | ACG | Fiber pigtail ¦ unjacketed
FAWLCUC0A |  | Base Product | Singlemode LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Blue - White (1-6) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAWSAUC0A |  | Base Product | Singlemode SC APC to Unconnectorized, 0.9 mm Tight Buffer Fiber Pigtail, 6-fiber Kit, Blue - White (1-6) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAWSAUC0C |  | Base Product | Singlemode SC APC to Unconnectorized, 0.9 mm Tight Buffer Fiber Pigtail, 12-fiber Kit, Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXSCUC0A |  | Base Product | OM4 SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Blue - White (1-6) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FAXL9UC0C |  | Base Product | OM4 LC/UPC Keyed Rose to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FBXL6UC11 |  | Base Product | OM4 LC/UPC Keyed Slate to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
FBWLCUC11 |  | Base Product | TeraSPEED® LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBW | Fiber pigtail ¦ unjacketed
CC2979-000 | OCP-S1-03MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/UPC to Stub, 0.9 mm diameter, 3 m |  |  | OCP | Fiber pigtail ¦ jacketed
1920523-2 | OCP-S2-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, 0.9 mm diameter, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
UBXLCUC11 |  | Base Product | Ultra Low Loss (ULL) LazrSPEED® 550 LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Riser - SBJ | CommScope® | SYSTIMAX ULL | UBX | Fiber pigtail ¦ unjacketed
UFVLCUC42 |  | Base Product | Ultra Low Loss (ULL) LazrSPEED® 550 WideBand OM5 LC/UPC to Unconnectorized, Fiber Pigtail, 1.6 mm Duplex, LSZH | CommScope® | SYSTIMAX ULL | UFV | Fiber pigtail ¦ jacketed
UDVLCUC42 |  | Base Product | Ultra Low Loss (ULL) OM5 LC/UPC to Unconnectorized, 1.6 mm Duplex Fiber Pigtail, Plenum | CommScope® | SYSTIMAX ULL | UDV | Fiber pigtail ¦ jacketed
UDXLCUC42 |  | Base Product | Ultra Low Loss (ULL) OM4 LC/UPC to Unconnectorized, 1.6 mm Duplex Fiber Pigtail, Plenum | CommScope® | SYSTIMAX ULL | UDX | Fiber pigtail ¦ jacketed
ACGSFUCNC |  | Base Product | Singlemode SC/UPC to Stub, Fiber Pigtail 0.6mm, 12-Fiber, Low Smoke Zero Halogen | CommScope® |  | ACG | Fiber pigtail ¦ unjacketed
FAWL2UC0C |  | Base Product | Singlemode LC/UPC Keyed Yellow to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXL1UC0C |  | Base Product | OM4 LC/UPC Keyed Red to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FAWLAUC0A |  | Base Product | Singlemode LC APC to Unconnectorized, 0.9 mm Tight Buffer Fiber Pigtail, 6-fiber Kit, Blue - White (1-6) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FBVLCUC11 |  | Base Product | LazrSPEED® 550 WideBand LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBV | Fiber pigtail ¦ unjacketed
CC0872-000 | OCP-L2-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/APC to Stub, 0.9 mm diameter, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
2-2160565-0 | OCP-SF-20MASIA-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/UPC to Stub, yellow, 20 m |  |  | OCP | Fiber pigtail ¦ jacketed
UBVLCUC11 |  | Base Product | Ultra Low Loss (ULL) LazrSPEED® 550 WideBand LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Riser - SBJ | CommScope® | SYSTIMAX ULL | UBV | Fiber pigtail ¦ unjacketed
FAXLCUC01 |  | Base Product | OM4 LC/UPC to Unconnectorized,0.9mm Tight Buffer Simplex Fiber Pigtail | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
EH0194-003 | OCP-L1-15DASEN-XX-(12)-AP | Variant of OCP | Fiber Optic Pigtail, 12 color kit, Singlemode, LC/UPC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
EH0194-004 | OCP-L2-15DASEN-XX-(12)-AP | Variant of OCP | Fiber Optic Pigtail, 12 color kit, Singlemode, LC/APC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
760253157 | OCP-S1-02MASEN-XX-(100) | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/UPC to Stub, 0.9 mm diameter, 2 m, Kit of 100 pigtails |  |  | OCP | Fiber pigtail ¦ jacketed
UDXLCUC21 |  | Base Product | Ultra Low Loss (ULL) OM4 LC/UPC to Unconnectorized, 1.6 mm Simplex Fiber Pigtail, Plenum | CommScope® | SYSTIMAX ULL | UDX | Fiber pigtail ¦ jacketed
FAWLCUC0B |  | Base Product | Singlemode LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Red - Aqua (7-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAWL3UC0C |  | Base Product | Singlemode LC/UPC Keyed Blue to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAWSCUC0B |  | Base Product | Singlemode SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Red - Aqua (7-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXL6UC0C |  | Base Product | OM4 LC/UPC Keyed Slate to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FAXL4UC0C |  | Base Product | OM4 LC/UPC Keyed Green to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FBXL1UC11 |  | Base Product | OM4 LC/UPC Keyed Red to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
FBXLCUC11 |  | Base Product | OM4 LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
FBWSAUC11 |  | Base Product | TeraSPEED® SC APC to Unconnectorized, Fiber Pigtail, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBW | Fiber pigtail ¦ unjacketed
9-1920523-1 | OCP-S2-15DASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, 0.9 mm diameter, 15 m |  |  | OCP | Fiber pigtail ¦ jacketed
2160062-9 | OCP-M-S5-09MESDA-XX | Variant of OCP | Fiber Optic Pigtail, Multimode, SC/UPC to Stub, 9 m |  |  | OCP | Fiber pigtail ¦ unjacketed |  | Discontinued
UAVLCUC0C |  | Base Product | Ultra Low Loss (ULL) LazrSPEED® 550 WideBand LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-fiber Kit, Blue - Aqua (1-12) | CommScope® | SYSTIMAX ULL | UAV | Fiber pigtail ¦ unjacketed
760246010 | OCP-EC-02MASEN-XX-(12COL) | Variant of OCP | Fiber Optic Pigtail, 12 fibers, Singlemode, LSH/APC to Stub, 0.9 mm diameter, multicolor, 2 m |  |  | OCP | Fiber pigtail ¦ multi-fiber
760242789 | OCP-LF-02MASEN-XX-(12COL) | Variant of OCP | Fiber Optic Pigtail, 12 fibers, Singlemode, LC/UPC to Stub, 0.9 mm diameter, multicolor, 2m |  |  | OCP | Fiber pigtail ¦ multi-fiber
2160852-2 | OCP-LF-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/UPC to Stub, 0.9 mm diameter, 2 m, semi-tight cable |  |  | OCP | Fiber pigtail ¦ jacketed
760243038 | OCP-SH-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, 0.9 mm diameter, 2 m, semi-tight cable |  |  | OCP | Fiber pigtail ¦ unjacketed
760251756 | OCP-EC-06MASCA-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LSZH, 2.4 mm diameter, tuned, Grade B, LSH/APC to Stub, yellow, 6 m |  |  | OCP | Fiber pigtail ¦ jacketed
760258539 | OCP-SH-02MALEN-XX-WH/D | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, 0.9 mm diameter, 2 m, loose buffered cable |  |  | OCP | Fiber pigtail ¦ unjacketed
EH0108-002 | OCP-S2-15DASEN-XX-AP | Variant of OCP | Fiber Optic Pigtail, Single fiber white color, Singlemode, SC/APC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
EH0194-007 | OCP-S5-15DGSEN-XX-(12)-AP | Variant of OCP | Fiber Optic Pigtail, 12 color kit, OM4, SC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
UDVLCUC21 |  | Base Product | Ultra Low Loss (ULL) OM5 LC/UPC to Unconnectorized, 1.6 mm Simplex Fiber Pigtail, Plenum | CommScope® | SYSTIMAX ULL | UDV | Fiber pigtail ¦ jacketed
FAWL8UC0C |  | Base Product | Singlemode LC/UPC Keyed Aqua to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXL2UC0C |  | Base Product | OM4 LC/UPC Keyed Yellow to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FAWLAUC0B |  | Base Product | Singlemode LC APC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Red - Aqua (7-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAWLAUC0C |  | Base Product | Singlemode LC APC to Unconnectorized, 0.9 mm Tight Buffer Fiber Pigtail, 12-fiber Kit, Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FBXSCUC11 |  | Base Product | LazrSPEED® 550 SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
FBWLAUC11 |  | Base Product | TeraSPEED® LC APC to Unconnectorized, Fiber Pigtail, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBW | Fiber pigtail ¦ unjacketed
OCP |  | Base Product | OCP Series Singlemode Fiber Optic Pigtail |  |  | OCP | Fiber pigtail ¦ jacketed ¦ Fiber pigtail ¦ unjacketed
CC2247-000 | OCP-L1-06MASIA-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/UPC to Stub, yellow, 6 m |  |  | OCP | Fiber pigtail ¦ jacketed
2-2160564-0 | OCP-LG-20MASIA-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/APC to Stub, yellow, 20 m |  |  | OCP | Fiber pigtail ¦ jacketed
FAWSAUC01 |  | Base Product | TeraSPEED® SC APC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXSCUC01 |  | Base Product | LazrSPEED® 550 SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
CC0987-000 | OCP-E8-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LSH/APC to Stub, 0.9 mm diameter, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed |  | Discontinued
760251755 | OCP-EC-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LSZH, 0.9 mm diameter, Grade B, LSH/APC to Stub, white, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
760242776 | OCP-LG-02MASEN-XX-(8COL) | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/APC to Stub, 0.9 mm diameter, multicolor, 8 fibers, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
760249511 | OCP-L5-02MGLEN-XX-(12COL/D) | Variant of OCP | Fiber Optic Pigtail, Multi-fiber, Multimode, OM4, LC/PC to Stub, 0.9 mm diameter, 12 fibers, multicolor, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
760252457 | OCP-LF-02MALEN-XX-WH | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/UPC to Stub, 0.9 mm diameter, 2 m, loose buffered cable |  |  | OCP | Fiber pigtail ¦ jacketed
EH0108-003 | OCP-L1-15DASEN-XX-AP | Variant of OCP | Fiber Optic Pigtail, Single fiber white color, Singlemode, LC/UPC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
CC1164-000 | OCP-E9-03MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LSH/APC to Stub, 0.9 mm diameter, 3 m |  |  | OCP | Fiber pigtail ¦ jacketed |  | Discontinued
2160742-2 | OCP-L2-02MASEN-XX-(12COL) | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/APC to Stub, 0.9 mm diameter, multicolor, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
760246159 | OCP-L1-02MASEN-XX-(12COL) | Variant of OCP | Fiber Optic Pigtail, 12 fibers, Singlemode, LC/UPC to Stub, 0.9 mm diameter, multicolor, 2m |  |  | OCP | Fiber pigtail ¦ multi-fiber
760251757 | OCP-EC-02MASCA-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LSZH, 2.4 mm diameter, tuned, Grade B, LSH/APC to Stub, yellow, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
2160042-2 |  | Variant | Fiber Optic Pigtail, OM4, LC/UPC-pigtail, 900 µm, LSZH, 2 m, aqua | CommScope® |  |  | Fiber pigtail ¦ jacketed
ACGLGUCNC |  | Base Product | Singlemode LC/APC to Stub, Fiber Pigtail 0.6 mm, 12-Fiber, Low Smoke Zero Halogen | CommScope® |  | ACG | Fiber pigtail ¦ unjacketed
FAWL7UC0C |  | Base Product | Singlemode LC/UPC Keyed Brown to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAWL5UC0C |  | Base Product | Singlemode LC/UPC Keyed Orange to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXL7UC0C |  | Base Product | OM4 LC/UPC Keyed Brown to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FAWL6UC0C |  | Base Product | Singlemode LC/UPC Keyed Slate to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXSCUC0B |  | Base Product | OM4 SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Red - Aqua (7-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FBXL9UC11 |  | Base Product | OM4 LC/UPC Keyed Rose to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
FBXL7UC11 |  | Base Product | OM4 LC/UPC Keyed Brown to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
FBXL8UC11 |  | Base Product | OM4 LC/UPC Keyed Aqua to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
CC0932-000 | OCP-S1-02MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/UPC to Stub, 0.9 mm diameter, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
2160662-3 | OCP-S3-03MASEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, 0.9 mm diameter, 3 m |  |  | OCP | Fiber pigtail ¦ jacketed
2160669-6 | OCP-S2-06MASCA-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, yellow, 6 m |  |  | OCP | Fiber pigtail ¦ jacketed
2160937-1 | OCP-SF-02MASEN-XX-(12COL) | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/UPC to Stub, 0.9 mm diameter, multicolor, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
6536880-1 |  | Variant of 6536880 | Fiber Optic Pigtail, Simplex, Singlemode, LC/UPC to Stub, 1 m | CommScope® |  |  | Fiber pigtail ¦ unjacketed
FAWSCUC01 |  | Base Product | Low Loss Singlemode SC/UPC to Stub, Fiber Pigtail, Simplex 0.9mm, Unrated | CommScope® |  | FAW | Fiber pigtail ¦ unjacketed
EH0108-008 | OCP-L5-15DGSEN-XX-AP | Variant of OCP | Fiber Optic Pigtail, Single fiber white color, OM4, LC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
760249505 |  | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, 0.9 mm diameter, 2 m, loose buffered cable |  |  | OCP | Fiber pigtail ¦ jacketed
UFXLCUC21 |  | Base Product | Ultra Low Loss (ULL) OM4 LC/UPC to Unconnectorized, 1.6 mm Simplex Fiber Pigtail, Low Smoke Zero Halogen (LSZH) | CommScope® | SYSTIMAX ULL | UFX | Fiber pigtail ¦ jacketed
UFVLCUC21 |  | Base Product | Ultra Low Loss (ULL) OM5 LC/UPC to Unconnectorized, 1.6 mm Simplex Fiber Pigtail, Low Smoke Zero Halogen (LSZH) | CommScope® | SYSTIMAX ULL | UFV | Fiber pigtail ¦ jacketed
ACGSGUCN1 |  | Base Product | Singlemode SC/APC to Stub, Fiber Pigtail, Simplex 0.6 mm, Low Smoke Zero Halogen | CommScope® |  | ACG | Fiber pigtail ¦ jacketed
ACGLFUCN1 |  | Base Product | Singlemode LC/UPC to Stub, Fiber Pigtail, Simplex 0.6 mm, Low Smoke Zero Halogen | CommScope® |  | ACG | Fiber pigtail ¦ unjacketed
FAWSCUC0A |  | Base Product | Singlemode SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Blue - White (1-6) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXLCUC0C |  | Base Product | OM4 LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FBWSCUC11 |  | Base Product | TeraSPEED® SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBW | Fiber pigtail ¦ unjacketed
FAXSCUC0C |  | Base Product | OM4 SC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FBXL4UC11 |  | Base Product | OM4 LC/UPC Keyed Green to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
FBXL5UC11 |  | Base Product | OM4 LC/UPC Keyed Orange to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
EH0194-001 | OCP-S1-15DASEN-XX-(12)-AP | Variant of OCP | Fiber Optic Pigtail, 12 color kit, Singlemode, SC/UPC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
1-2055334-0 | OCP-L2-02MASEN-XX-YE | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, LC/APC to Stub, 0.9 mm diameter, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed
FAWLAUC01 |  | Base Product | TeraSPEED® LC APC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
UDGLCUC21 |  | Base Product | Ultra Low Loss (ULL) Singlemode LC/UPC to Unconnectorized, 1.6 mm Simplex Fiber Pigtail, Plenum | CommScope® | SYSTIMAX ULL | UDG | Fiber pigtail ¦ jacketed
UFXLCUC42 |  | Base Product | Ultra Low Loss (ULL) OM4 LC/UPC to Unconnectorized, 1.6 mm Duplex Fiber Pigtail, Low Smoke Zero Halogen (LSZH) | CommScope® | SYSTIMAX ULL | UFX | Fiber pigtail ¦ jacketed
ACGLFUCNC |  | Base Product | Singlemode LC/UPC to Stub, Fiber Pigtail 0.6 mm, 12-Fiber, Low Smoke Zero Halogen | CommScope® |  | ACG | Fiber pigtail ¦ unjacketed
ACGSFUCN1 |  | Base Product | Singlemode SC/UPC to Stub, Fiber Pigtail, Simplex 0.6 mm, Low Smoke Zero Halogen | CommScope® |  | ACG | Fiber pigtail ¦ unjacketed
FAWL4UC0C |  | Base Product | Singlemode LC/UPC Keyed Green to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXLCUC0B |  | Base Product | OM4 LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Red - Aqua (7-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FAWSAUC0B |  | Base Product | Singlemode SC APC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 6-Fiber Kit Red - Aqua (7-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAW | Fiber pigtail ¦ unjacketed
FAXL3UC0C |  | Base Product | OM4 LC/UPC Keyed Blue to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-Fiber Kit Blue - Aqua (1-12) | CommScope® | SYSTIMAX InstaPATCH® 360 | FAX | Fiber pigtail ¦ unjacketed
FBXL2UC11 |  | Base Product | OM4 LC/UPC Keyed Yellow to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
FBXL3UC11 |  | Base Product | OM4 LC/UPC Keyed Blue to Unconnectorized, Fiber Pigtail Simplex, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | FBX | Fiber pigtail ¦ unjacketed
EH0194-002 | OCP-S2-15DASEN-XX-(12)-AP | Variant of OCP | Fiber Optic Pigtail, 12 color kit, Singlemode, SC/APC to Stub, 0.9 mm diameter, 1.5 m |  |  | OCP | Fiber pigtail ¦ jacketed
1920569-2 | OCP-S5-02MDSEN-XX | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/UPC to Stub, yellow, 2 m |  |  | OCP | Fiber pigtail ¦ jacketed |  | Discontinued
UAXLCUC0C |  | Base Product | Ultra Low Loss (ULL) LazrSPEED® 550 LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm Tight Buffer, 12-fiber Kit, Blue - Aqua (1-12) | CommScope® | SYSTIMAX ULL | UAX | Fiber pigtail ¦ unjacketed
UBWLCUC11 |  | Base Product | TeraSPEED® LC/UPC to Unconnectorized, Fiber Pigtail, 0.9 mm SBJ | CommScope® | SYSTIMAX InstaPATCH® 360 | UBW | Fiber pigtail ¦ unjacketed
760243059 | OCP-SH-02MASEN-XX-(12COL) | Variant of OCP | Fiber Optic Pigtail, Simplex, Singlemode, SC/APC to Stub, 0.9 mm diameter, multicolor, 2 m |  |  | OCP | Fiber pigtail ¦ multi-fiber